File title：Verification & Validation Plan

File No：

Project name：

Project number：

Version ：A

Issued date:

Confidential level：

Compiled by：

Reviewed by：

Approved by：

Establishment and History of Changes

| Rev. No. | Page Affected | Effective Date | Reasons / Contents | Prepared by Compiler | Reviewed by 1st checker | Approved by 2nd checker |
| --- | --- | --- | --- | --- | --- | --- |

Contents

1 介绍Introduction	5

1.1 项目背景Background	5

1.2 目的Purpose	5

1.3 范围scope	5

2 参考文件References	5

2.1 规范性文件Normative references	5

2.2 内部文件Internal references	5

3 定义和缩写Definitions and Abbreviations	5

3.1 定义Definitions	5

3.2 缩写Abbreviations	5

4 工具清单List of Tools	6

5 V&V职责V&V Responsibility	6

6 技术和措施要求Technologies and Measures	6

7 过程管理Process Management	6

7.1 V&V过程策略V&V Process Strategy	6

7.2 过程控制Process Control	7

7.3 问题报告及处理Issues Reporting and Handling	7

8 进度计划Scheduling	7

9系统生命周期各阶段验证与确认Verification and Validation in Each Lifecycle Stages	8

9.1 阶段1	8

9.1.1 输入文件Input Documents	8

9.1.2 输出文件Output Documents	8

9.1.3 V&V活动和要求V&V Activities and Requirements	8

9.2 系统需求阶段System Requirements Phase	8

9.2.1 输入文件 Input Documents	8

9.2.2 输出文件 Output Documents	8

9.2.3 V&V活动和要求 V&V Activities and Requirements	8

9.2.3.1 测试活动 Test Activities	8

9.2.3.2 验证活动 Verification Activities	9

9.3 系统架构阶段 System Architecture Design phase	10

9.3.1 输入文件 Input Documents	10

9.3.2 输出文件 Output Documents	10

9.3.3 V&V活动和要求 V&V Activities and Requirements	10

9.3.3.1 测试活动 Test Activities	10

9.3.3.2 验证活动 Verification Activities	10

Confirmed by xxx  QMS:

| Check Content/Date xxx/yyyy-mm-dd departmant manager | Check Content/Date Yyyy /yyyy-mm-dd Management Representative | Released by/Date Zzzz / yyyy-mm-dd Management Director |
| --- | --- | --- |

# 1 介绍Introduction

## 1.1 项目背景Background

## 1.2 目的Purpose

为了确保xx系统在开发生命周期内满足预定的功能、性能、安全要求及质量要求，

并有序对其进行验证、确认，特制订本计划。

## 1.3 范围scope

本文档的应用范围，整个生命周期

# 2 参考文件References

## 2.1 规范性文件Normative references

## 2.2 内部文件Internal references

# 3 定义和缩写Definitions and Abbreviations

## 3.1 定义Definitions

1)

2)

…

## 3.2 缩写Abbreviations

| 缩写 Definition | 全称 Full name | 中文含义 Chinese |
| --- | --- | --- |

# 4 工具清单List of Tools

表4-1 V&V 工具清单

Tab.4-1 List of tools for the V&V

| 序号 | 工具名称 | 版本 | 说明 |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| …… |  |  |  |

# 5 V&V职责V&V Responsibility

本项目V&V 组织结构及角色职责

# 6 技术和措施要求Technologies and Measures

可以引用安全计划中的相关内容（即标准中要求的针对V&V需采用的技术和措施）。

# 7 过程管理Process Management

## 7.1 过程控制Process Control

过程控制程序执行公司文件：《验证确认控制程序》

## 7.2 问题报告及处理Issues Reporting and Handling

V&V过程中发现的问题，采用xx工具进行跟踪。

BUG处理流程，引用公司文件：《测试缺陷处理流程》或者在此处进行描述

# 8 进度计划Scheduling

表8-1 V&V进度计划

Table 8-1 V&V Scheduling

| 生命周期阶段 Life Cycle Phase | V&V主要输出文档 V&V Main Output Document | 开始及结束日期 Start and End Date | 拟制人 Written by |
| --- | --- | --- | --- |
| 概念阶段 Concept phase |  |  |  |
| 系统定义阶段 System definition phase |  |  |  |
| 系统需求阶段 System requirements phase |  |  |  |
| 系统架构阶段 Software Architecture and Design phase |  |  |  |
| …… |  |  |  |
| 系统集成测试 阶段 System Integration test phase |  |  |  |
| 系统确认阶段 System validation phase |  |  |  |

# 9系统生命周期各阶段验证与确认Verification and Validation in Each Lifecycle Stages

## 9.1 阶段1

### 9.1.1 输入文件Input Documents

### 9.1.2 输出文件Output Documents

### 9.1.3 V&V活动和要求V&V Activities and Requirements

阶段1验证内容如下：

The verification during the xx phase shall cover the following items:

## 9.2 系统需求阶段System Requirements Phase

### 9.2.1 输入文件 Input Documents

### 9.2.2 输出文件 Output Documents

### 9.2.3 V&V活动和要求 V&V Activities and Requirements

### 9.2.3.1 测试活动 Test Activities

- 设计编写系统需求测试规格说明书 Compile system requirements test specification

系统需求测试规格对于系统需求/安全需求的测试覆盖率应达到100%。系统需求测试规格应该识别测试用例，包括：

The system requirement test specification, which shall 100% cover the system requirement and safety requirement, shall identify test cases including:

- 测试规格书中的测试案例需要包含唯一的、明确的编号

- Identify a unique number for each test case

- 测试规格书中的测试案例需包含数值的、明确的操作步骤

- Necessary input signals with sequence and values

- 测试规格书中的测试案例需有包含数值的、明确的期望结果

- Expected output signals with sequence and values

- 包括系统性能方面的测试

- Acceptance criteria including performance and quality

### 9.2.3.2 验证活动 Verification Activities

系统需求阶段验证内容如下：

The verification during the system requirements phase shall cover the following items:

- 系统需求验证，包括：Verify System requirements, including:

      - 文档规范性验证Document normalization verification

      - 完整性验证Integrity verification

      - 可追溯性验证Traceability verification

      - 可测试性验证Testability verification

      - 正确合理性验证Correctness and rationality verification

- ……;

- 编写系统需求阶段验证报告。所有验证报告都应该描述以下内容： System requirements Verification report shall be written. The Verification Report of each phase shall document the following:

      - 验证项的标识符和配置、验证人员；The identity and configuration of the items verified, as well as the Verifier names

      - 与规范不一致的项； Items which do not conform to the specifications

      - 不适于解决问题的数据和措施； Data and measure poorly adapted to the problem

      - 验证过程中发现的错误和缺陷； Detected errors or deficiencies;

      - 验证错误和缺陷项是否修改完成并关闭。.

      - 验证结论。A summary of the verification results.

## 9.3 系统架构阶段 System Architecture Design phase

### 9.3.1 输入文件 Input Documents

### 9.3.2 输出文件 Output Documents

### 9.3.3 V&V活动和要求 V&V Activities and Requirements

### 9.3.3.1 测试活动 Test Activities

### 9.3.3.2 验证活动 Verification Activities

9.2、9.3…等章节依据项目的生命周期，按阶段参考9.2小节进行编写

End